## Sheet1
Electric Heater
Check Power Supply
Check Control Supply Power
Troubleshoot Control Circuit
Check the Heater Element
Heat Pump
Check Power Supply
Check Control Supply Power
Check Refrigerant in the system
Check the controls and circuit
Repair problem
Ventilation
Fresh Air Flow / Exhaust fan
Check Power Supply
Air Conditioning
1- Window Type
Check Power Supply
Check the Air Filter
Check the blower motor
Check the Capacitor
Check The Thermostat and Selector switch
Check the Compressor
Check the refrigerant Circuit
2- Split AC Type
Check Power Supply
Check the Air Filter
Check the blower motor
Check the Capacitor
Check the control Circuit
Check Processor Circuit board (PCB)
Check Remote Control
Check the Compressor
Check the refrigerant Circuit
3- Central AC
Check Power Supply
Check the blower motor
Check condenser fan motor
Check the Air Filter
Check the Capacitor
Check contactor (magnatic starter)
Check Transformer (line and control)
Check Timer and Time Delay
Check Control Relay
Check Solenoid Valve
Check Expansion Valve ( TXV)
Check Core Filter
Check the belt
Check the Pulley ( Driver and Driven )
Check Air Flow Switch
Check the Differential Pressure Switch
Check Solid State Protector ( SSP)
Check Discharge Gas Thermostat ( DGT)
Check the Pressure Switch ( high and low )
Check Fan Cycling Pressure Switch
Check Pump Down Pressure Switch
Check the Processor Control board
Check Fuses and Circuit Breaker
Check Compressor Motor
Check Service Valves
Chiller
Check Water Flow Switch
Check Water Pump
Check Water Regulator
Check Chiller Air Vent
Check Anti Freeze Thermostat
Check Chilled Water Thermostat Control
Check Three Way Valve
Refrigeration
1- Refrigerator
Check and Repair Thermostat
Check Timer
Check bullion Heater
Check for Defrost Timer
Check Fan Motors (Evaporator- Condensor)
Check Fuses
Check Starting Capacitor
Check Potential Relay
Check the overload Protection Control
Check Compressor Motor
Check Refrigerant Charge
2- Freezer ( up-right - Chest - Walk-in Freezer )
Check Low and High Pressure Switch
3-Cold Room ( Varying Temperatures)
Check Low and High Pressure Switch
Check the Contactor
Check the Transformer
4- Ice Maker
Check the Solenoid Valve
Check the Ice Cutter Function
Check the Water Pump Function
Check Float Valve

## CMap
1 | Air Conditioning
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
1.1 | Window Type | Outline the procedure and the guidelines pertaining testing, servicing and repairing of window AC. | Participate in testing, servicing and repairing of window AC. Explain the operating principles of various devices and controls of window type AC. | Demonstrate the procedure of how to service and repair the various devices and controls of window type AC. | Establish guidelines to ensure a quality service and repair of Window type AC.
|  | OJT-100 | OJT-100 | OJT-106 | OJT-124
|  | HAC-313 | OJT-102 | WOR-203 | OJT-125
|  |  | HAC-313 | HAC-311 | WOR-202
|  |  |  | HAC-324 | WOR-205
HAC-302
HAC-304
HAC-312
HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
1.2 | Split AC Type | Outline the procedure and guidelines for installing, testing, servicing and repairing of Split AC. | Participate in installing, testing, servicing and repairing of Split AC. Explain the operating principles of various devices and controls of Split AC. | Determine the procedure of how to install, service and repair the various types of devices and controls of split AC. | Establish guidelines to ensure quality installation, maintenance and repair of split AC. Formulate calibration accuracy for the controls.
|  | OJT-100 | OJT-100 | OJT-101 | OJT-124
|  | HAC-313 | OJT-120 | OJT-103 | OJT-125
|  |  | OJT-121 | OJT-106 | OJT-128
|  |  |  | OJT-115 | WOR-202
|  |  |  | OJT-123 | WOR-204
|  |  |  | WOR-203 | WOR-205
|  |  |  | HAC-303 | HAC-302
|  |  |  | HAC-311 | HAC-304
|  |  |  | HAC-324 | HAC-312
HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
1.3 | Central AC | Outline / observe safety instructions and precautions pertaining, installing, servicing, repairing and testing. Identify the types of relays, timers, valves, transformers, contactors and switches according to their applications and functions. | Evaluate the conditions of the controls, motors, switches and adopt procedural steps required for installation, maintenance and repair. Define the required maintenance of the equipments that need to be repaired such as core filter, belt and pulley. | Determine the conditions of the controls, motors, switches and adopt procedural steps required for installation, maintenance and repair. Specify the equipments that need to be repaired such as core filter, belt and pulley. Execute maintenance and repair of motors and controls. Inspect, analyze fault and suggest solution. | Troubleshoot the conditions of the controls, motors, switches and adopt procedural steps required for installation, maintenance and repair. Maintain the equipments that need to be repaired such as core filter, belt and pulley. Recommend maintenance and repair of motors and controls.
|  | OJT-100 | OJT-100 | OJT-101 | OJT-104
|  | HAC-313 | OJT-113 | OJT-103 | OJT-110
|  |  | OJT-120 | OJT-104 | OJT-112
|  |  | OJT-121 | OJT-105 | OJT-119
|  |  | HAC-306 | OJT-106 | OJT-122
|  |  | HAC-307 | OJT-109 | OJT-124
|  |  | HAC-308 | OJT-111 | OJT-125
|  |  | HAC-309 | OJT-115 | OJT-126
|  |  | HAC-310 | OJT-117 | OJT-127
|  |  | HAC-317 | OJT-118 | OJT-128
|  |  | HAC-318 | OJT-123 | WOR-202
|  |  | HAC-325 | WOR-203 | WOR-204
|  |  |  | HAC-303 | WOR-205
|  |  |  | HAC-311 | HAC-302
|  |  |  | HAC-323 | HAC-304
|  |  |  | HAC-324 | HAC-312
|  |  |  | HAC-326 | HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
1.4 | Chiller | Identify the water pump, flow switch, regulator, air vent, anti freeze thermostat, chilled water thermostat control and three way valve of chiller. | Participate in installation and maintenance of the water pump, flow switch, regulator, air vent, anti freeze thermostat, chilled water thermostat control and three way valve of chiller. | Supervise the installation and maintenance of chiller. Execute and overhaul water pump, three way valve of chiller and check the flow switch, regulator, air vent, anti freeze thermostat, chilled water thermostat control. | Maintain and recommend improvement of chiller. Troubleshoot, repair and configure the controls of the chillers to maintain required temperature.
|  | OJT-100 | OJT-100 | OJT-101 | OJT-107
|  | HAC-313 | OJT-113 | OJT-103 | OJT-112
|  |  | OJT-120 | OJT-106 | OJT-119
|  |  | OJT-121 | OJT-108 | OJT-125
|  |  | HAC-306 | OJT-111 | OJT-126
|  |  | HAC-307 | OJT-115 | OJT-127
|  |  | HAC-308 | OJT-116 | OJT-128
|  |  | HAC-309 | OJT-117 | WOR-201
|  |  | HAC-310 | OJT-118 | WOR-202
|  |  | HAC-314 | WOR-203 | WOR-204
|  |  | HAC-325 | HAC-303 | WOR-205
|  |  |  | HAC-311 | HAC-302
|  |  |  | HAC-315 | HAC-304
|  |  |  | HAC-316 | HAC-305
|  |  |  | HAC-323 | HAC-312
|  |  |  | HAC-324 | HAC-327
HAC-326
2 | Ventilation and Humidification
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
2.1 | Ventilation | Identify fresh air flow fan and exhaust fan operation. Evaluate the power supply voltage for motorized damper. | Explain fresh air flow fan and exhaust fan operation. Define whether the blades of fire damper and back draft damper are closing properly. | Determine proper method and equipment for checking fresh air flow fan and exhaust fan. Execute installation and repair fresh air flow fan and exhaust fan. Specify whether the blades of fire damper and back draft damper are closing properly. | Troubleshoot motorized and fire damper. Recommend the proper replacement for the fuse link of the fire damper.
|  | OJT-100 | OJT-100 | OJT-103 | OJT-104
|  | HAC-313 | HAC-317 | OJT-104 | OJT-122
|  |  | HAC-318 | HAC-303 | OJT-128
|  |  | HAC-322 | HAC-319 | WOR-205
|  |  |  | HAC-320 | HAC-302
|  |  |  | HAC-321 | HAC-304
|  |  |  | HAC-324 | HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
2.2 | Humidifier | Describe the functions of the humidifier. List installation procedure. Observe / outline safety instructions and precautions pertaining repair, isolation and lock out procedures. | Define the functions of the solenoid valve, contactor heater, water float valve, heater for infrared light and fuses or circuit breaker. Define installation procedure. Explain safety instructions and precautions pertaining repair, isolation and lock out procedures. | Demonstrate the operating principles and functions of the solenoid valve, contactor heater, water float valve, heater for infrared light and fuses or circuit breaker. Apply installation procedure and implement safety instructions and procedures. | Act as a subject matter cin operating principles and functions of the solenoid valve, contactor heater, water float valve, heater for infrared light and fuses or circuit breaker. Establish a strictly followed procedure in installation, maintenance repair, settings and calibration to improve the application of humidifier.
|  | OJT-100 | OJT-100 | OJT-103 | OJT-104
|  | HAC-313 |  | OJT-104 | OJT-128
|  |  |  | OJT-114 | WOR-205
|  |  |  | HAC-321 | HAC-302
|  |  |  | HAC-324 | HAC-304
HAC-327
3 | Safety
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
3.1 | Safety Awareness | Observe company safety standards, housekeeping and follow all rules and regulations. Give examples of existing safety hazards and identify available safety equipment. Identify safety procedures and uses of proper tools to handle all types of work. Outline Personal Protective Equipment ( PPE). | Contribute to safety campaign activities. Cite potential unsafe working conditions and safety hazards at work. Participates in safety campaigns and deliver short presentations on safety topics. Define actions to solve potential problems. Explain safety procedures and uses of proper tools to handle all types of work. Explain Personal Protective Equipment ( PPE). | Specify and approve precautionary measures to reduce safety hazards and work with others to develop new accident prevention methods. Conduct presentations on several safety topics. Apply safety procedures and uses of proper tools to handle all types of work. | Recommend and analyze data on future safety concerns and solutions. Participate in safety campaigns that communicate and encourage the adherence to safety precautions. Establish corrective actions for unsafe working conditions.
|  | SAF-001 | SAF-001 | SAF-005 | SAF-006
|  | SAF-002 | SAF-003 | SAF-006 | SAF-007
|  | SAF-003 | SAF-004 | SAF-007 | SAF-011
|  |  | SAF-008 | SAF-008
|  |  | SAF-009 | SAF-010
4 | Refrigeration
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
4.1 | Ice Maker | Describe / identify basic parts and functions such as solenoid valve, ice cutter, water pump and float valve. Observe steps for installation, maintenance and repair in the manual. | Participate in identifying parts and installing of ice maker. Adapt procedure and follow the steps as describe in the manufacturer manual for installation, maintenance and repair. | Implement proper methods of safety,precaution and instructions in repaired, installation and maintainance of ice maker. Supervise the installation, maintenance and repair after gathering required information from manufacturer manual. | Act as SME on installation and maintainance of ice maker. Enforce and comply with safety guidelines at all times. Recommend sending technician to special courses related to the repair, troubleshooting and maintenance of ice maker.
|  | OJT-100 | OJT-100 | OJT-105 | OJT-125
|  | HAC-313 |  | OJT-106 | OJT-127
|  |  |  | WOR-203 | WOR-202
|  |  |  | HAC-311 | WOR-205
|  |  |  | HAC-324 | HAC-302
HAC-304
HAC-312
HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
4.2 | Refrigerator | Describe parts and function of refrigirator. Observe safety precaution and quidelines to prevent damage to the cabinet and mechanism of the refrigerator. | Explain the types of refrigerators such as manual / automatic defrost, frost free including control and protective devices. | Analyze electrical ladder wiring diagram and refrigerant flow cycle. Perform all necessary maintenance and repair. | Troubleshoot and repair automatic defrost, frost free including control and protective devices.
|  | OJT-100 | OJT-100 | OJT-105 | OJT-125
|  | HAC-313 |  | OJT-106 | WOR-202
|  |  |  | WOR-203 | WOR-205
|  |  |  | HAC-311 | HAC-302
|  |  |  | HAC-324 | HAC-304
HAC-312
HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
4.3 | Freezer | Describe parts and function of all types of freezers. Observe safety precaution and quidelines to prevent damage to the cabinet and mechanism of the freezer. | Explain the types of freezers such as manual / automatic defrost, frost free including control and protective devices. | Apply the procedure in the manual to different types of freezers such as manual / automatic defrost, frost free including control and protective devices. | Troubleshoot and repair automatic defrost, frost free including control and protective devices.
|  | OJT-100 | OJT-100 | OJT-105 | OJT-125
|  | HAC-313 |  | OJT-106 | WOR-202
|  |  |  | WOR-203 | WOR-205
|  |  |  | HAC-311 | HAC-302
|  |  |  | HAC-324 | HAC-304
HAC-312
HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
4.4 | Cold Room | Describe the function and parts of the cold room such as low and high pressure switch, contactor, thermostat and transformer. | Define the types and parts of cold room such as low and high pressure switch, contactor, thermostat and transformer. Prepare defective cold room for repair / coordinate with maintenace planner for needed materials. | Determine the root cause of failure in cold room operation and provide solution. Supervise the implementation of all required information recommedned by the manufacturer. Review, perform and approve mechanical / control settings and execute maintenance repair. | Act as SME to implement, troubleshoot and manage schedule / application as required by the job.
|  | OJT-100 | OJT-100 | OJT-105 | OJT-107
|  | HAC-313 | OJT-113 | OJT-106 | OJT-119
|  |  | OJT-120 | OJT-111 | OJT-125
|  |  | HAC-306 | OJT-118 | WOR-202
|  |  | HAC-307 | OJT-123 | WOR-205
|  |  | HAC-308 | WOR-203 | HAC-302
|  |  | HAC-309 | HAC-303 | HAC-304
|  |  | HAC-310 | HAC-311 | HAC-312
|  |  |  | HAC-323 | HAC-327
HAC-324
5 | Heating
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
5.1 | Electric Heater | Observe and follow the approved procedure of manufactures catalogues and manuals. Identify parts of the electric heater operation such as control circuit, heater element and installation. | Evaluate the operating principles of electric heaters. Define parts of the electric heater operation such as control circuit, heater element and installation. Explain and follow the approved procedure of manufactures' catalogues and manuals. | Review and approve electric heater operation including control circuit, heater element, repair and installation. | Act as SME to ensure the required safety procedure and precaution during the operation of electric heater. Maintain and install the electric heater to ensure proper performance.
|  | OJT-100 | OJT-100 | OJT-117 | WOR-205
|  | HAC-313 |  | OJT-123 | HAC-302
|  |  |  | HAC-324 | HAC-304
HAC-327
| Skill | Awareness | Fundamental Application | Skilled Application | Mastery
5.2 | Heat Pump | Outline different types of heat pumps. Identify safety rules, regulations and installation procedure. | Evaluate different types of heat pumps. Identify safety rules, regulations, installation procedure, maintenance and repair standards. | Specify all types of heat pumps. Apply safety rules, regulations and installation procedure. | Recommend procedures for installation, preventive maintenance and repair.
|  | OJT-100 | OJT-100 | OJT-103 | WOR-202
|  | HAC-313 |  | OJT-106 | WOR-205
|  |  |  | OJT-117 | HAC-302
|  |  |  | WOR-203 | HAC-304
|  |  |  | HAC-324 | HAC-312
HAC-327
T&CD
CF = CONFERENCE
WS = WORKSHOP
WA = WORK ASSIGNMENT
CT = PROFESSIONAL CERTIFICATION
MB = PROFESSIONAL MEMBERSHIP
Senior Spec HVAC & Refrig
Technical Competency Map

## SA_Courses
Code in Cmap | Title | Provider | Location | Duration | Link
SAFETY COURSES
SAF-001 | Hazard Recognition | T&CD | Participate in testing, servicing and repairing of window AC. Explain the operating principles of various devices and controls of window type AC. | Online
SAF-002 | Driver Improvement Refresher | T&CD | e-Learning | Online
SAF-003 | Defensive Driving Techniques (SkillSoft-B) |  |  | Online
SAF-004 | Fire Safety (Loss Prevention)(Williams) |  |  | Online
SAF-005 | Vehicle Ssfety Programs and Requirements |  |  | Manual
SAF-006 | Electrical Safety |  |  | Online
SAF-007 | Assignable units for "Safety Orientation (WilliamsWeb) |  |  | 30 Min
SAF-008 | BASIC LIFE SUPPORT (HEARTSAVER) ARABIC 40020798 |  |  | 1-day | HAC-312
SAF-009 | Work Permit Receiver (TCD) v4Work Permit Receive 40041980r (TCD) v4 | T&CD | e-Learning | Online
SAF-010 | Classes of Fires and Extinguishers | LPD | Classroom
SAF-011 | Scott Air Pak Self-Contained Breathing Apparatus | LPD | Classroom
HAC-301 | 40019768 Operation of Refrigeration Systems (Williams) | T&CD | e-Learning | Online
HAC-302 | 40019685 ES-EEX 741 Troubleshooting Electrical Circuits (Williams) | T&CD | e-Learning | Online
HAC-303 | 40019683 ES-EEX 736 Three-Phase (Williams) | T&CD | e-Learning | Online
HAC-304 | 40034292 Implementing an Organizationwide Mentoring Program (SkillSoft-B) | T&CD | e-Learning | Online
HAC-305 | Part 5 - Troubleshoot Water Chillers | T&CD | e-Learning | Online
HAC-306 | Part 1A - Function of an Unloader | T&CD | e-Learning | Online
HAC-307 | Part 1B - Function of an Unloader | T&CD | e-Learning | Online
HAC-308 | Part 1C - Function of an Unloader | T&CD | e-Learning | Online
HAC-309 | Part 2 - Adjust a Pressure Operated Unloader | T&CD | e-Learning | Online
HAC-310 | Part 3 - Adjust a Hydraulic Unloader | T&CD | e-Learning | Online
HAC-311 | Part 4 - Replace a Burn Out Compressor | T&CD | e-Learning | Online
HAC-312 | Part 5 - Troubleshoot Mechanical Faults | T&CD | e-Learning | Online
HAC-313 | Part 1 - Thermodynamics of a Refrigeration Cycle | T&CD | e-Learning | Online
HAC-314 | Part 2 - Operation Chilled Water Systems and Chillers | T&CD | e-Learning | Online
HAC-315 | Part 3 - PM on Water Chiller | T&CD | e-Learning | Online
HAC-316 | Part 4 - Maintain Chiller Control Circuits | T&CD | e-Learning | Online
HAC-317 | Part 1A - Fundamentals Air Distribution System | T&CD | e-Learning | Online
HAC-318 | Part 1B - Drawing Fundamentals Air Distribution System | T&CD | e-Learning | Online
HAC-319 | Part 2 - PM Air Distribution System | T&CD | e-Learning | Online
HAC-320 | Part 3 - Balance Air Distribution System | T&CD | e-Learning | Online
HAC-321 | Part 4 - Test Indoor Air Quality | T&CD | e-Learning | Online
HAC-322 | Part 1 - Fundamentals Air Distribution Controls |  | e-Learning | Online
HAC-323 | Part 2 - Maintain Pneumatic Controls | T&CD |  | Online
HAC-324 | Part 3 - Maintain Electrical Controls | T&CD | e-Learning | Online
HAC-325 | Part 4 - Fundamentals Digital Controls | T&CD | e-Learning | Online
HAC-326 | Part 5 - Maintain-Direct-Digital-Controls | T&CD | e-Learning | Online
HAC-327 | Part 6 - Troubleshoot-Controls | T&CD | e-Learning | Online
HAC-312
HAC-312
HAC-312
HAC-312

## OOC_Courses
CODE in C Map | COURSE TITLE | LOCATION | Participate in testing, servicing and repairing of window AC. Explain the operating principles of various devices and controls of window type AC. | DURATION | LINK
HAC-313
HAC-312
HAC-312
HAC-312
HAC-312
HAC-312
OUT-OF-COMPANY COURSES
for Metals Technicians

## OOC_OOK_Workshops
CMap Code | VENDOR CODE | WORKSHOP TITLE | LOCATION | PROPONENT | DURATION | LINK
Participate in testing, servicing and repairing of window AC. Explain the operating principles of various devices and controls of window type AC.
HAC-313
HAC-312
HAC-312
HAC-312
HAC-312
HAC-312
WORKSHOPS
For Metals Technicians

## Work_Assignments
Code | Title | Area Location | Organization | Duration in Months | Description | Objectives
OJT-100 | A/C REFRIG. PHASE III | ALL | NAOO | 1-Year | On Job Training under the supervision of a mentor . | A prerequisite course for A/C REFRIG. PHASE IV
OJT-101 | PM on Air Conditioning Units (B) | ALL | NAOO | 1-Week | On Job Training for PM on Air Conditioning Units. | To maintain a good opoeration of the Air Condition.
OJT-102 | Repair Air Conditioning Units (B) | ALL | NAOO | 1-Day | To repair a non-operational Air Condition. | To make it operational.
OJT-103 | Repair Plant Equipment (A) | ALL | NAOO | 2-Weeks | To repair non-operational Equipment. | To make it operational.
OJT-104 | Repair Plant Equipment (B) | ALL | NAOO | 2-Weeks | To repair non-operational Equipment. | To make it operational.
OJT-105 | Remove Air Conditioner/Air Handling Unit (A) | ALL | NAOO | 1-Week | For maintenance purposes. | To repair
OJT-106 | Remove Compressors/ Parts (A) | ALL | NAOO | 3-Days | To replace defective parts. | To repair
OJT-107 | Remove Compressors/ Parts (B) | ALL | NAOO | 1-Week | To replace defective parts. | To repair
OJT-108 | Remove Valves, Pumps and Motors (A) | ALL |  | 2-Weeks | To replace defective parts. | To repair
OJT-109 | Remove Valves, Pumps and Motors (B) | ALL | NAOO | 2-Days | To replace defective parts. | To repair
OJT-110 | Remove Controllers (A) | ALL | NAOO | 3-Weeks | To replace defective parts. | To repair
OJT-111 | Remove Controllers (B) | ALL | NAOO | 2-Weeks | To replace defective parts. | To repair
OJT-112 | Remove Software / Hardware | ALL | NAOO | 2-Weeks | To replace defective parts. | To repair
OJT-113 | Remove Ancillary Equipment (A) | ALL | NAOO | 1-Week | To replace defective parts. | To repair
OJT-114 | Remove Ancillary Equipment (C) | ALL | NAOO | 1-Week | To replace defective parts. | To repair
OJT-115 | Install Compressor / Parts (B) | ALL | NAOO | 1-Week | To replace defective parts. | To repair
OJT-116 | Install Valves, Pumps and Motors (B) | ALL | NAOO | 1-Week | To replace defective parts. | To repair
OJT-117 | Install Controllers (A) | ALL | NAOO | 1-Week | To replace defective parts. | To repair
OJT-118 | Install Controllers (B) | ALL | NAOO | 2-Weeks | To replace defective parts. | To repair
OJT-119 | Install Software / Hardware | ALL | NAOO | 2-Weeks | To replace defective parts. | To repair
OJT-120 | Install Ancillary Equipment (A) | ALL | NAOO | 1-Week | To replace defective parts. | To repair
OJT-121 | Install Ancillary Equipment (B) | ALL | NAOO | 2-Days | To replace defective parts. | To repair
OJT-122 | Balance Equipment / Systems (B) | ALL | NAOO | 1-Week | To ensure proper air distribution . | To satisfy the occupants.
OJT-123 | Align Equipment ( B) | ALL | NAOO | 1-Week | To prevent vibration and wear off bearings and belts. | To prevent damage of equipment.
OJT-124 | Troubleshoot Air Conditioning Unit ( B) | ALL | NAOO | 1-Week | To determine the fault. | To rectify the fault.
OJT-125 | Troubleshoot Compressors | ALL | NAOO | 2-Weeks | To identify faulty parts. | To rectify the fault.
OJT-126 | Troubleshoot Controllers | ALL | NAOO | 1-Week | To identify faulty parts. | To rectify the fault.
OJT-127 | Troubleshoot Non-Industrial Equipment (B) | ALL | NAOO | 2-Weeks | To identify faulty parts. | To rectify the fault.
OJT-128 | Troubleshoot Ancillary Equipment / System | ALL | NAOO | 4-Weeks | To identify faulty parts. | To rectify the fault.
To be handled by Training Coordinators
WOR-201 | 40007437 T/S FLOTRONIC CHILLER | T&CD | Classroom | 20-Days Course
WOR-202 | 40008492 REFRIGERANT HANDLING SUPERVISORS | T&CD | Classroom | 2-Days Course
WOR-203 | 40008042 REFRIGERANT HANDLING MAINT. TECH. | T&CD | Classroom | 5-Days Course
WOR-204 | 40035188 MAINTAINING JOHNSON DDC SYSTEMS | T&CD | Classroom | 20-Days Course | HAC-312
WOR-205 | 40003390 MENTOR TRAINING PROGRAM | T&CD | Classroom | 5-Days Course
HAC-312
WORK ASSIGNMENTS
For Metals Technicians

## Prof_Certification
CODE | DISCIPLINE | GOVERNING BODY | CERTIFICATION NAME | LINK
PROFESSIONAL CERTIFICATIONS
for Metals Technicians

## Prof_Membership
CODE | Area & Discipline | Institution / Society | Link
PROFESSIONAL MEMBERSHIP
for Metals Technicians

## Reading_Assignments
PROVIDER | COURSE CODE | TITLE | LINK
SA-CDD | CDD-RA001 | CDD Standards, Policies and Procedures
SA-CDD | CDD-RA002 | Degree Recognition Process (DRP)
SA-CDD | CDD-RA003 | Succession and Career Planning (S&CP)
SA-CDD | CDD-RA004 | Individual Development Plan (IDP)
SA-CDD | CDD-RA005 | Individual Development Plan User Guide
SA-CDD | CDD-RA006 | Succession & Career Planning Booklet
SA-CDD | CDD-RA007 | Professional Development Program (PDP)
SA-CDD | CDD-RA008 | Non-Technical College Graduates Program (NTCGP)
SA-TRNG | TRNG-RA001 | Summer Program
Metal Technicians
Reading Assignments